ORBITRAP Automatic File Processing

Mandatory format of the input Excel file

- Format: .xlsx

- Column “Compound”
From this column we know the name of the compound. It already appears correctly and is good as it is.

- Column “Formula”
Each compound has its own formula. It would be nice if, in the Excel output, the chemical formula appears next to the compound name.

- Column “RT”

Each compounds has its own retention time, so just as characteristic that we have when the compounds are listed the same idea as for Compound, Formula, Adduct.

- Column “Adduct” M+H (+) or M-H
This column is also useful to identify whether compounds were recorded in positive or negative mode. For example, compounds can appear as M+H (+) in positive mode or M-H in negative mode. This provides a universal description for creating tables with compound name, formula, and adduct. I saw right now that if it is not detected N/F the adduct is N/A!!! I am not sure if it is good idea, so only as compound name or formula should be unique as description.

- Column “Type” – Target Compounds
In this column we can find Internal Standards, but for quantification we need exclusively Target Compounds, so this column should be mandatory.

- Column “Status” – Processed
It is good to include this column in case someone tries to use an Excel file created before processing was completed in TraceFinder. It is optional, but I think it is useful to have it here.

- Column “Filename”
From this column we can identify the sample names. We already have this in the list.

- Column “Sample Type” – Cal Std or Unknown
From this entry we know exactly which files are calibration standards and which are samples, blanks, MeOH, or MeOH-H2O.

- Column “Level”- 0.5, 1, 5, 10, 25, 50, 100, 150, 200, 250, 500, 1000ppb…
This could be used to distinguish calibration levels. Sometimes the number of calibration points and levels may vary, and this column could be used for recognition instead of the “Filename” column, as it is currently connected.

- Column “Peak Label”
T1 should always be used for quantification. We already have this implementation.

- Column “Area”
This is used to calculate concentrations in the vial and then in the sample. We already have this implementation.

- Filenames: "CalCurve", "MM", "MMC", "Blank", "Recovery"
Every other filename will be considered as “samples”.
I like this approach, but maybe we could instead use the “Sample Type” column mentioned above. In that way we can avoid typing errors, since this information is always well defined in TraceFinder. We saw today that it was mistake with MMC and MM and we lost 2 cal points.

- Blank name for MM: "MM_Blank_AIF" This is ok.

- Blank name for samples: "Blank_HPLC_AIF" This is ok.

- The blank name for the recovery samples will be deduced automatically. This is ok.

Quantifiaction part

Here the most important Column is “Area” from which for each compound calculate the Cvial (ng/mL) in ppb because the points of calibration curve are made in ppb. See Excel File